## Sheet1
C |  | City of Brookhaven Briarwood Park - CONSTRUCTION ITEMS BID SCHEDULE | [5 empty] | 2023-03-17
# |  | Construction Items | Quantity | Unit | Contractor | Unit | Total | Notes
1 |  | Preconstruction and Site Staking | [5 empty] | See sheets C300 & 301
| A | Mobilization | 1 | Sum |  | 0 | 0 | Not over 1% of subtotal
| B | Staking site | 1 | Job |  | 0 | 0 | See specs & sheets C300 & 1
| C | Prepare Permit schedule | 1 | job | 1 | 250 | 250 | See specs & Exhibit 7
| D | Utility Locator | 1 | Sum |  | 0 | 0 | See Specs Section 02100
| E | Prepare Traffic control and Phasing plan | 1 | Job | 1 | 0 | 0 | See specs & Exhibit 10
| F | Security Fence - old chain link | 1 | job |  | 0 | 0 | See Specs Section 02100
| G | Coordination with Tree Care company | 1 | job | 1 | 500 | 500 | See Exhibit B of ITB
| H | Coordination with Geotech Company | 1 | job | 1 | 500 | 500 | See Exhibit B of ITB
2 |  | Clearing & Demolition | 1 | job |  | 0 | 0 | See sheets C200 & C202
| A | Tree protection fence | 3615 | lf |  | 0 | 0 | See sheets C203 & C204
| B | Tree removal | 18 | trees |  | 0 | 0 | See sheet C202 & C203
|  | Demolition Area A | [5 empty] | See sheet C200
|  | 1. Protect items outside LOC | 1 | job |  | 0 | 0 | See Specs Section 02060
|  | 2. Protect underground utilities | 1 | job |  | 0 | 0 | See Specs Section 02060
|  | 3. Remove curb & gutter | 60 | lf |  | 0 | 0 | See sheets C200 & C201
|  | a. saw cut asphalt road | 38 | lf |  | 0 | 0 | See sheet C200
|  | 4. Demolish & remove sidewalk | 2000 | SF |  | 0 | 0 | See sheet C200
|  | 5. Collect & salvage wheel stops | 20 | Ea |  | 0 | 0 | See sheet C200
|  | 6. Remove sign and post | 3 | Ea |  | 0 | 0 | See sheet C200
|  | 7. Relocate site boulders | 1 | job |  | 0 | 0 | See sheet C200
|  | 8. Remove all site debris with LOD | 1 | job |  | 0 | 0 | See sheet C200
|  | 9. Cut and remove water line | 1 | Job |  | 0 | 0 | See sheet C200
|  | 10. Remove fire hydrant | 1 | job |  | 0 | 0 | See sheet C200
|  | 11. Coordinate removal of power lines | 1 | job |  | 0 | 0 | by Georgia Power
|  | 12. Demolish & remove asphalt | 39380 | SF |  | 0 | 0 | See sheets C200 & C201
|  | Demolition Area B | [5 empty] | See Sheet C201
|  | 1. Protect items outside LOC | 1 | job |  | 0 | 0 | See Sheet C201
|  | 2. Protect underground utilities | 1 | job |  | 0 | 0 | See Sheet C201
|  | 3. Remove curb & gutter | 575 | lf |  | 0 | 0 | See Sheet C201
|  | a. saw cut road | 34 | lf |  | 0 | 0 | See Sheet C201
|  | 4. Demolish & remove sidewalk | 575 | SF |  | 0 | 0 | See Sheet C201
|  | 5. Demolish & remove storm pipe & structure | 35 | lf |  | 0 | 0 | See Sheet C201
|  | 6. Remove sign and post | 7 | Ea |  | 0 | 0 | See Sheet C201
|  | 7. Remove & Salvage arbors to reinstall | 2 | Ea |  | 0 | 0 | See Sheet C201
|  | 8. Demolish & remove garden fence & beds | 1 | job |  | 0 | 0 | See Sheet C201
|  | 9. Demolish existing headwall | 1 | Ea |  | 0 | 0 | See Sheet C201
|  | 10. Remove all site debris with LOD | 1 | job |  | 0 | 0 | See Sheet C201
|  | 11. Demolish & remove existing pavilion | 1 | job |  | 0 | 0 | by Georgia Power
|  | 12. Demolish & remove asphalt | 17600 | SF |  | 0 | 0 | See Sheet C201
3 |  | Grading and Drainage
| A | Grading Site | 1 | job |  | 0 | 0 | See sheets C400 & 401
|  | 1. Remove existing rock dam @ basin A | 1 | job |  | 0 | 0 | See sheet C200
|  | 2. Build new dam @ basin A | 1 | job |  | 0 | 0 | See sheet C400
|  | 3. 4' chain-link fence around detention basin | 560 | lf |  | 0 | 0 | Sim. Detail 1/21
|  | a. 4' double gate | 1 | set |  | 0 | 0 | See sheet C400
|  | 4. Grade out Basin C | 9000 | SF |  | 0 | 0 | See sheet C400
|  | 5. Tree root protection | 4 | Trees |  | 0 | 0 | See detail 1/37
| B | Drainage Area A -Complete | [5 empty] | See Sheet C400
|  | 1. Drop inlet box | 2 | Ea |  | 0 | 0 | See detail 1/14
|  | 2. Pedestal inlet | 3 | Ea |  | 0 | 0 | See detail 3/14
|  | 3. Headwall | 1 | Ea |  | 0 | 0 | See detail 4/14
|  | 4. Underground Detention system - complete | 376 | lf |  | 0 | 0 | See Sheet #16
|  | 5. Gravel fill for underground detention | 100 | CY |  | 0 | 0 | See Specs Section 02630
|  | 6. Coordinate w manufacturer for shop drawing | 1 | job |  | 0 | 0 | See Section 01340
|  | 7. RCP 24" | 56 | lf |  | 0 | 0 | See Section 02630
|  | 8. RCP 18" | 289 | lf |  | 0 | 0 | See Section 02630
|  | 9. Crushed gravel trench | 240 | lf |  | 0 | 0 | See detail 6/C403
|  | 10. Bio retention basins - complete | 2460 | SF |  | 0 | 0 | See detail 5/C403
|  | 11. Rip Rap | 3 | CY |  | 0 | 0 | See Section 02630
| C | Drainage Area B -Complete | [5 empty] | See Sheet C401
|  | 1.Water Quality unit - complete | 1 | Ea |  | 0 | 0 | See sheet C403
|  | 2. Pedestal inlet | 4 | Ea |  | 0 | 0 | See detail 1 & 3/14
|  | 3. End wall | 1 | Ea |  | 0 | 0 | See detail 4/14
|  | 5. HDPE 18" | 81 | lf |  | 0 | 0 | See Section 02630
|  | 6. HDPE 12" | 95 | lf |  | 0 | 0 | See Section 02630
4 |  | Erosion Control: | 1 | job |  | 0 | 0 | See sheets C701 thru C709
| A | Initial Phase - Complete | 1 | job |  | 0 | 0 | See sheet C702
| B | Intermediate Phase - Complete | 1 | job |  | 0 | 0 | See sheet C703
| C | Final Phase - Complete | 1 | job |  | 0 | 0 | See sheet C704
| D | Construction entrance | 2 | Ea |  | 0 | 0 | See detail C705 /45
| E | Erosion grassing | 8350 | SF |  | 0 | 0 | See Spec Section 02125
5 |  | Site Utilities; | [5 empty] | See sheet C500
| A | Water Fee | 1 | Ea |  |  |  | City to pay direct
| B | 3/4" line tap | 1 | job |  | 0 | 0 | See sheet 17
| C | 3/4" water line | 140 | lf |  | 0 | 0 | See sheet 17
| D | Re install existing fire hydrant | 1 | job |  | 0 | 0 | See sheet 17 detail 4/18
| E | FH connection lines | 20 | job |  | 0 | 0 | See sheet 17
| F | Spare sleeves | 256 | lf |  | 0 | 0 | See detail 14/19 & Sheet 17
| G | Repair existing water fountain | 1 | job |  | 0 | 0 | on site inspection
| H | Drinking fountain @ garden | 1 | Ea |  | 0 | 0 | See detail 1/22
| I | Meter, box, valve, backflow preventer | 1 | cost |  | 0 | 0 | See sheet 17
| J | Site Hose Bid system - Complete | 5 | Ea |  | 0 | 0 | See sheet 17 Detail 5/18
6 |  | Dumpster | [5 empty] | See sheet 21
| A | 6" Concrete slab and approach pad | 960 | SF |  | 0 | 0 | See detail 2/19
| B | Enclosure - 8' chain link fence | 48 | LF |  | 0 | 0 | See detail 5/36
| C | Double Gates - chain link - double 6' gate = 12' | 2 | sets |  | 0 | 0 | See detail 6/36
| D | Fixed bollards | 4 | Ea |  | 0 | 0 | See detail 9/21
| E | Shop Drawing - Fence and gates to fit | 1 | job |  | 0 | 0 | See Section 01340
7 |  | New Parking & Road Realignment
| A | Asphalt parking lot | 40500 | SF |  | 0 | 0 | See detail 6/19
| B | Asphalt roadway 24' | 270 | lf |  | 0 | 0 | See detail 6/19
| C | Curb and gutter - match existing | 950 | Ea |  | 0 | 0 | See detail 7/19
| D | Wheel stops | 72 | Ea |  | 0 | 0 | See detail 13/19
| E | Integral concrete curb | 522 | lf |  | 0 | 0 | See detail 9/19
| F | 5' Sidewalk 225 lf | 1125 | SF |  | 0 | 0 | See detail 12/19
| G | Handicap stripes | 2 | sets |  | 0 | 0 | See detail 8/20
| H | Paint HC Symbols | 3 | Ea |  | 0 | 0 | See detail 7/20
| I | Reset HC Signs | 3 | Ea |  | 0 | 0 | See detail 6/20
| J | Reset EV parking signs | 2 | Ea |  | 0 | 0 | See detail 8/20 & Sheet 17
| K | 6' Sidewalk 725 lf | 4650 | SF |  | 0 | 0 | See detail 12/19
| L | Removable bollards | 5 | Ea |  | 0 | 0 | See detail 8/22
8 |  | Segmented Block Wall | [5 empty] | See sheet C609 # 23 & #39
| A | Wall A 67 lf Parking - see alternates | 160.5 | ff |  | 0 | 0 | See detail 4/C618 & sheet 39
| B | Wall B 76 lf at steps - see alternates | 182 | ff |  | 0 | 0 | See detail 3/C618 & sheet 39
| C | Wall C 80 lf culvert extension - see alternates | 280 | ff |  | 0 | 0 | See detail 2/C618 & sheet 39
| D | Wall D 84 lf Culvert | 315 | ff |  | 0 | 0 | See detail 1/C618
| E | 42" Guardrail | 74 | lf |  | 0 | 0 | See detail 6/C615
| F | Shop drawings for wall D | 5 | Ea |  | 0 | 0 | See Section 01340
| G | Complete city building permit for wall D | 1 | job |  | 0 | 0 | See Exhibit B of ITB
9 |  | Refurbish Old Pavilion- Omitted from Bid | NIC | NIC |  |  |  | See detail 1/36
10 |  | Tennis Seating Area | [5 empty] | See Sheet 35
| A | Sidewalk 5' x 210' | 1050 | SF |  | 0 | 0 | See detail 1/19
| B | Wood Seat & wall 3 TIERS 40' EA | 120 | lf |  | 0 | 0 | See detail 2/35
| C | Wood steps 5 ea @ 4' | 20 | lf |  | 0 | 0 | See detail 3/35
| D | Granite Screenings 2" thick surface | 400 | SF |  | 0 | 0 | See detail 2/35
11 |  | Tennis Pavilion # 1 Poligon | 1 | Ea |  | 0 | 0 | See Poligon sheet C604
| A | Concrete slab | 200 | SF |  | 0 | 0 | See detail 2/24
| B | Surface mount metal Post footings | 8 | Ea |  | 0 | 0 | See detail 4/25
| C | Granite column base 30" ht | 8 | Ea |  | 0 | 0 | See detail 1/25
| D | 5' concrete sidewalk 70 lf | 350 | sf |  | 0 | 0 | See detail 1/19
| E | Repair existing water fountain | 1 | job |  | 0 | 0 | examine on site
| F | Install hose bib with slab on fountain line | 1 | job |  | 0 | 0 | See Sheet 17 & 18
| G | Shop drawings on Pavilion #1 | 1 | Ea |  | 0 | 0 | See Section 01340
| H | Fire Extinguisher | 1 | Ea |  | 0 | 0 | See detail 4/24
| I | Complete city building permit | 1 | Ea |  | 0 | 0 | See Exhibit B of ITB
| J | Poligon Warranty | 1 | Ea |  | 0 | 0 | See Poligon PO.
12 |  | New Entrance Sign
| A | Stone -Wall 6' x 12' granite on both sides | 12 | lf |  | 0 | 0 | See detail 2/36
| B | Attach Park Sign | 1 | Ea |  | 0 | 0 | Sign provided by owner
13 |  | Tennis Parking
| A | Asphalt paving | 1600 | SF |  | 0 | 0 | See detail 9/19
| B | Concrete curb and gutter | 220 | LF |  | 0 | 0 | See detail7/19
| C | Curb Cut 6' | 1 | job |  | 0 | 0 | See detail 6/37
| D | Truncated domes | 1 | set |  | 0 | 0 | See detail 10/34
| E | Mill existing asphalt roadway | 15000 | SF |  | 0 | 0 | See detail 5/19
|  | 1. Topping asphalt roadway | 15000 | SF |  | 0 | 0 | See detail 5/19
14 |  | Pavilion # 2 Poligon (Community Garden) | 1 | Ea |  | 0 | 0 | Poligon sheet C604, #23
| A | Concrete slab | 200 | SF |  | 0 | 0 | See detail 2/24
| B | Surface mount metal post footings | 8 | Ea |  | 0 | 0 | See detail 4/25
| C | 30" Granite column base | 8 | Ea |  | 0 | 0 | See detail 1/25
| D | Ceiling fan and electrical outlet -Complete | 1 | Job |  | 0 | 0 | See detail 3/24
| E | Fire Extinguisher | 1 | Ea |  | 0 | 0 | See detail 4/24
| F | Shop drawings on Pavilion #2 | 1 | Ea |  | 0 | 0 | See Section 01340
| G | Complete city building permit | 1 | Ea |  | 0 | 0 | See Exhibit B of ITB
| H | Poligon Warranty | 1 | Ea |  | 0 | 0 | See Poligon PO.
15 |  | Sidewalk on Briarwood Way
| A | 5' concrete walk 105 ' | 525 | SF |  | 0 | 0 | See detail 9/19
| B | Concrete curb - Match existing | 105 | LF |  | 0 | 0 | See detail7/19
16 |  | Concrete Pervious Trail (Community Garden) | [5 empty] | See Sheet 33
| A | 8' wide pervious concrete trail 265' x 8 | 2120 | SF |  | 0 | 0 | See detail 12/19
| B | 6' wide pervious concrete trail 175 lf | 1050 | SF |  | 0 | 0 | See detail 12/19
| C | 10' wide heavy duty concrete trail 120' | 1200 | SF |  | 0 | 0 | See detail 2/19
| D | Removable bollard | 3 | Ea |  | 0 | 0 | See detail 9/22
17 |  | Community Garden | [5 empty] | See sheet C614
| A | wood Gate A 2 - 2.75' each | 2 | Ea |  | 0 | 0 | Customize from Fence detail
| B | Garden Boxes 4' x 10' x 18" ht. | 21 | Ea |  | 0 | 0 | See detail 3/36
|  | 1. HC Garden Box 4' x 10' x 3' Ht | 1 | Ea |  | 0 | 0 | Sim. to detail 3/36
|  | 2. Soil mix | 52 | CY |  | 0 | 0 | See section 02921
| C | Perimeter Fence 5' Ht | 228 | lf |  | 0 | 0 | See detail 2 / 33
| D | Perimeter Flower Bed 18" Ht | 192 | lf |  | 0 | 0 | See detail 3 / 33
| E | Garden walking surface - aged HW mulch | 2120 | SF |  | 0 | 0 | See detail 5 /33
|  | 1. Textile fabric over walking surface | 2120 | SF |  | 0 | 0 | See Detail 6/37
| F | Potting shed structure 10' x 20' | 200 | SF |  | 0 | 0 | See detail 5/ 33
|  | 1. Granite Screenings Surface | 200 | SF |  | 0 | 0 | See detail 5/ 33
|  | 2. Wood Bench top | 16 | lf |  | 0 | 0 | See detail 4/ 33
|  | 3. Fire Extinguisher | 1 | ea |  | 0 | 0 | On potting shed post
|  | 4. Pickup Potting Shed city building permit | 1 | ea |  | 0 | 0 | At City Hall.
| G | Wood Gate B 2 - 2.75' each | 2 | Ea |  | 0 | 0 | Customize from Fence detail
| H | Reconstruct Arbors X & Y | 2 | Ea |  | 0 | 0 | See detail 1/ 33 - location
| I | Install salvaged birdhouse (garden) | 1 | Ea |  | 0 | 0 | labor only
| J | Duplex Receptacles - complete | 2 | Ea |  | 0 | 0 | See Electrical Plans E Series
18 |  | Crushed slate trail 6' wide - 500 lf | 3000 | SF |  | 0 | 0 | See detail 3/37
19 |  | Bridge West Access and Concrete Trail | [5 empty] | See Detail 1/32
| A | Clear pathway and prune limbs - access | 1 | Job |  | 0 | 0 | See Spec Section 02112
| B | Textile fabric over ground 10' x 150' access | 1500 | SF |  | 0 | 0 | See detail 6/37
| C | Gravel protection course 3" x 10' x 150' access | 14 | CY |  | 0 | 0 | See detail 1/32
| D | Cleanup debris after bridge construction | 1500 | SF |  | 0 | 0 | See Section 02975
| E | Structural base course 8' x 150' 3" thick | 15 | CY |  | 0 | 0 | See detail 12/19
| F | 8' Pervious concrete trail @ 150' | 1200 | SF |  | 0 | 0 | See detail 12/19
| G | Add soil and mulch along edges | 130 | SF |  | 0 | 0 | See detail 1/19
| G | 5' Concrete sidewalk on street - match existing | 130 | SF |  | 0 | 0 | See detail 1/19
| H | Concrete curb - match existing | 24 | lf |  | 0 | 0 | See detail 7/19
20 |  | Gator Bridge -10' x 100' Aluminum - bronze | 100 | LF |  | 0 | 0 | See sheets C610 & C611
| A | Shop Drawings - by Gator Bridge | 1 | job |  | 0 | 0 | See Specs Section 01640
| B | 10' Lumberock Deck -installation | 1000 | job |  | 0 | 0 | Part of Gator Bridge materials
| C | Concrete Abutments | 2 | Ea |  | 0 | 0 | See Sheet C612
| D | Wing Walls -( East 12' West 12' ) | 24 | lf |  | 0 | 0 | See detail 1/29
| E | Guardrails | 18 | lf |  | 0 | 0 | See detail 6/34
| F | Helical Piers - final design by contractor | [5 empty] | See details 2 & 3/29
|  | 1. Helical Piers - Vertical - 8 per abut. 50' long | 16 | Ea |  | 0 | 0
|  | 2. Helical Piers - Horizontal 2 per abut. 30' long | 4 | Ea |  | 0 | 0 | See sheets 29 & 30
| G | Bridge Installation complete | 1 | Job |  | 0 | 0 | See Specs Section 05552
| H | Complete City building permit | 1 | job |  | 0 | 0 | See Exhibit B of ITB
| I | 10 yr. Warranty on Bridge - Gator | 1 | job |  | 0 | 0 | See Specifications
21 |  | Concrete Stairs 6' wide w cheek wall | 10 | Ea |  | 0 | 0 | See sheet C607
| A | Handrail on steps | 50 | lf |  | 0 | 0 | See detail 1/26
| B | 6' wide pervious concrete trail 270 lf | 1620 | SF |  | 0 | 0 | See detail 12/19
| C | Bench @ beginning of trail | 1 | Ea |  | 0 | 0 | See detail 8/22
22 |  | Bridge East Access | [5 empty] | See detail 2/32
| A | Grade in pathway | 1 | Job |  | 0 | 0 | See Section 02200
| B | textile fabric over ground 10' x 40' | 400 | SF |  | 0 | 0 | See detail 6/37
| C | Gravel support course 3" x 10' x 40' | 4 | CY |  | 0 | 0 | See detail 1/32
| D | Cleanup to remove gravel and fabric | 400 | SF |  | 0 | 0 | See Section 02975
23 |  | Site Furnishings
| A | Bench | 5 | Ea |  | 0 | 0 | See detail 8/22
| B | Swinging bench | 2 | Ea |  | 0 | 0 | See detail 4/34
| C | Picnic table | 8 | Ea |  | 0 | 0 | See detail 6/22
| D | Trash receptacle | 4 | Ea |  | 0 | 0 | See detail 7/22
| E | trach /Recycle receptacle | 4 | Ea |  | 0 | 0 | See detail 7/22
| F | Bike Rack - @ swimming pool | 1 | Ea |  | 0 | 0 | See detail 9/22
| G | Bench concrete pad | 5 | Ea |  | 0 | 0 | See detail 3/22
| H | Swinging bench concrete pad 5' x 11' | 2 | Ea |  | 0 | 0 | See detail 4/34
| I | Trash receptacle concrete pad | 4 | Ea |  | 0 | 0 | See detail 2/22
| J | Trash / Recycle concrete pad | 4 | Ea |  | 0 | 0 | See detail 4/22
| K | Bike Rack - concrete pad | 1 | Ea |  | 0 | 0 | See detail 9/22
24 |  | Site Signage
| A | Stop sign | 1 | Ea |  | 0 | 0 | See detail 5/20
| B | Reinstall park rules sign | 1 | JOB |  | 0 | 0 | Sim. detail 1/20
| C | Yield sign | 3 | Ea |  | 0 | 0 | Sim. detail 5/20
| D | Reinstall dog station | 1 | job |  | 0 | 0 | Labor only
25 |  | Landscape - Plant List Exhibit K ITB | [5 empty] | See sheet L100 Sheet 50
| A | Site Planting Schedule | 1 | job |  | 0 | 0 | Transfer from Plant Schedule
| B | Bioretention Planting | 1 | job |  | 0 | 0 | Transfer from Plant Schedule
26 |  | Site Lighting & Electrical - See Exbibit K ITB | [5 empty] | See sheets 52 to 59
| A | Parking lot lighting - see Fixture schedule | 1 | job |  | 0 | 0 | Sheets 53 to 55
| B | Duplex receptacles for garden - Complete | 1 | job |  | 0 | 0 | See sheets E101 to E104
| C | Relocate EV charges - complete | 2 | Ea |  |  |  | See sheet 55
| D | ATT conduit installation | 1 | job |  | 0 | 0 | See sheet ATT-01 #52
27 |  | Final Cleanup - SITE | 160000 | sf |  | 0 | 0 | See Section 02975
| A | As-built drawings | 1 | job | 1 | 0 | 0 | See Exhibit B of ITB
28 |  | Allowance Items | [5 empty] | See Section 01220
| A | Excavation & removal of unsatisfactory soil | 200 | CY | 200 | 0 | 0 | See Section 02200
| B | Excavation & removal of mass rock to subgrade | 100 | CY | 100 | 0 | 0 | See Section 02200
| C | Excavation & removal of trench rock to subgrade | 100 | CY | 100 | 0 | 0 | See Section 02200
| D | Refill void with satisfactory soil | 200 | CY | 200 | 0 | 0 | See Section 02200
| E | Refill void with GAB | 200 | CY | 200 | 0 | 0 | See Section 02200
| F | Refill void with #57 stone or surge stone | 200 | CY | 200 | 0 | 0 | See Section 02200
| G | 18" silt sock - Sd1-Ns | 500 | lf | 500 | 0 | 0 | See Erosion Control sheets
| H | Double silt fence | 300 | lf | 300 | 0 | 0 | See Erosion Control sheets
| I | hand dig double silt fence trench Sd1-S | 300 | lf | 300 | 0 | 0 | Labor only
| J | Silt Fence and 18" silt sock combination | 300 | lf | 300 | 0 | 0 | See Addendum #1 Detail
| K | Wooden trail walls - uphill | 100 | lf | 5 | 0 | 0 | See detail 5/34
| L | Wooden trail walls - downhill | 200 | LF | 150 | 0 | 0 | See detail 4/36
| M | Helical Piers | 100 | lf | 100 | 0 | 0 | See sheets 31 & 32
| N | Geotechnical borings Deep 70' | 2 | Ea | 2 | 0 | 0 | See Section 05663
|  | Shallow 10' | 6 | Ea | 6 | 0 | 0 | See sheets 31 & 32
| O | Metal Guardrail 6' sections 10 each | 60 | LF | 60 | 0 | 0 | See detail 6/34
29 |  | Additional Items identified by the Contractor | [5 empty] | See Exhibit K of ITB
| A |  |  |  |  | 0 | 0
| B |  |  |  |  | 0 | 0
| C |  |  |  |  | 0 | 0
Sub - Total
|  | General Conditions including Phasing | 0 | % |  | 0 | 0 | All costs not in items list
|  | TOTAL PROJECT BID |  |  |  |  | 0 | Lump Sum Bid
|  | DEDUCT ALTERNATES - ALL in BASE BID | QTY | UNIT | Contractor | Unit $ | Deduct $
3 | C | Drainage Area B - | [5 empty] | See Sheet C401
|  | 1.Water Quality unit | 1 | Ea |  | 0 | 0 | See detail C/403
|  | 2. Pedestal inlet | 4 | Ea |  | 0 | 0 | See details 1 & 3/14
|  | 3. End wall | 1 | Ea |  | 0 | 0 | See detail 4/14
|  | 5. HDPE 18" | 81 | lf |  | 0 | 0 | See Section 02630
|  | 6. HDPE 12" | 95 | lf |  | 0 | 0 | See Section 02630
|  | TOTAL ITEM |  |  |  |  | 0
8 |  | Segmented Block Wall
| A | Wall A 67 lf Parking | 160.5 | ff |  | 0 | 0 | See detail 4/39
| B | Wall B 76 lf at steps | 182 | ff |  | 0 | 0 | See detail 3/39
| C | Wall C 80 lf culvert extension | 280 | ff |  | 0 | 0 | See detail 2/39
| D | Add back grading option wo walls | 1 | job |  | 0 | 0 | See Sheet 400
|  | TOTAL ITEM |  |  |  |  | 0
11 |  | Pavilion # 1 Poligon (Tennis Area) | 1 | Ea |  | 0 | 0 | See Poligon Sheet C604
| A | Concrete slab | 200 | SF |  | 0 | 0 | See detail 2/24
| B | Surface mount metal Post footings | 8 | Ea |  | 0 | 0 | See detail 4/25
| C | 30# Column stone base | 8 | Ea |  | 0 | 0 | See detail 1/25
| D | 5' concrete sidewalk 70 lf | 350 | SF |  | 0 | 0 | See detail 12/19
| D | Fire Extinguisher | 1 | Ea |  | 0 | 0 | See detail 4/24
| F | Shop drawings on Pavilion #2 | 1 | Ea |  | 0 | 0 | See Section 01340
| G | Complete city building permit | 1 | Ea |  | 0 | 0 | See Exhibit B of ITB
| H | Poligon Warranty | 1 | Ea |  | 0 | 0 | See Poligon PO.
|  | TOTAL ITEM |  |  |  |  | 0
13 |  | Tennis Seating Area
| A | Sidewalk 5' x 210' | 1050 | SF |  | 0 | 0 | See detail 1/35 C616
| B | Seating walls | 110 | lf |  | 0 | 0 | See detail 2/35
| C | Wooden steps 6 ea @ 4' | 20 | lf |  | 0 | 0 | See detail 3/35
| D | Granite Screenings 2" thick | 400 | SF |  | 0 | 0 | See detail 1/35
|  | TOTAL ITEM |  |  |  |  | 0
14 |  | Pavilion # 2 Poligon (Community Garden) | 1 | EA |  | 0 | 0 | See Poligon sheet C604
| A | Concrete slab | 200 | SF |  | 0 | 0 | See detail 2/24
| B | Surface mount Post footings | 8 | Ea |  | 0 | 0 | See detail 4/25
| C | 3-" Granite Column stone base | 8 | Ea |  | 0 | 0 | See detail 1/25
| D | Ceiling fan and electrical | 1 | Job |  | 0 | 0 | See detail 3/24
| E | Fire Extinguisher | 1 | Ea |  | 0 | 0 | See detail 4/24
| F | Shop drawings on Pavilion #2 | 1 | Ea |  | 0 | 0 | See Section 01340
| G | Complete city building permit | 1 | Ea |  | 0 | 0 | See Exhibit B of ITB
| H | Poligon Warranty | 1 | Ea |  | 0 | 0 | See Poligon PO.
|  | TOTAL ITEM |  |  |  |  | 0
20 | I | Bridge 10 year Warranty | 1 | Ea |  | 0 | 0 | See Gator Quote
|  | TOTAL DEDUCTS |  |  |  |  | 0