## Communnity Green
C |  | Sawnee Mountain Preserve Barker Overlook - CONSTRUCTION ITEMS BID SCHEDULE
# |  | Construction Items | Quantity | Unit | Contractor | Unit | Total | Notes
1 |  | Pre-Construction:
| A | Mobilization | 1 | job |  | 0 | 0
| B | Staking | 1 | job |  | 0 | 0 | See C300 series
2 |  | Demolition | [5 empty] | See sheet C200
| A | Remove all dead, hazardous, and fallen trees | 1 | job |  | 0 | 0
| B | Remove trees | 32 | EA |  | 0 | 0
| C | Remove concrete paving | 5890 | SF |  | 0 | 0
| D | Remove Asphalt paving | 9705 | SF |  | 0 | 0
| E | Remove metal steps | 1 | job |  | 0 | 0
| F | Remove vehicular gates and posts | 2 | EA |  | 0 | 0
| G | Remove power pole and associated cables and wires, terminate lines per provider requirements | 1 | job |  | 0 | 0
| H | Remove dilapidated stone and wood walls | 1 | job |  | 0 | 0
| I | Remove decommissioned tower, base, and guy wires | 1 | job |  | 0 | 0
3 |  | Clearing & Grubbing:
| A | Clearing & Grubbing | 1.6 | AC |  | 0 | 0
| B | Limb up trees to remain within work limits to 10 ft clear | 1 | job |  | 0 | 0
| C | Class A Pruning of all trees withing work limits | 1 | job |  | 0 | 0
4 |  | Erosion Control: | [5 empty] | See C600 series
| A | Initial phase | 1 | job |  | 0 | 0
| B | Intermediate phase | 1 | job |  | 0 | 0
| C | Final phase | 1 | job |  | 0 | 0
5 |  | Grading and Drainage: | 1 | job |  | 0 | 0 | See sheet C500
| A | Grading and Drainage | 1 | job |  | 0 | 0
| B | Refuse removal | 915 | CY |  | 0 | 0
| C | Fill and Compact voids | 915 | CY |  | 0 | 0
6 |  | Access Road:
| A | Asphalt paving | 11700 | SF |  | 0 | 0 | See detail 4/C400
| B | Modular retaining wall | 126 | LF |  | 0 | 0 | See grading plan, submit shop drawings
| C | Bollard | 12 | EA |  | 0 | 0 | See detail 6/C400
| D | Striping | 1 | job |  | 0 | 0
| E | Stop sign | 1 | EA |  | 0 | 0 | See detail 8/C400
| F | Fire lane markings | 1 | job |  | 0 | 0 | See detail 3/C400
| G | Concrete curb stop | 2 | EA |  | 0 | 0 | See detail 7/C400
7 |  | Entry Stairways:
| A | Concrete stair | 450 | SF |  | 0 | 0 | See detail 1/C401
| B | Handrail | 42 | LF |  | 0 | 0 | See detail 3/C401
| C | Rock wall | 1010 | FF |  | 0 | 0 | Dry stack existing stone in field
| D | Stair cheek wall | 70 | LF |  | 0 | 0 | See detail 1/C401 and 2/C401
8 |  | Entry ADA Ramp:
| A | Concrete stair | 538 | SF |  | 0 | 0 | See detail 1/C402, See also C500 for spot grades
| B | Knee wall | 270 | LF |  | 0 | 0 | See detail 2/C401
| C | Handrail | 270 | LF |  | 0 | 0 | See detail 2/C402 and 1/C402
9 |  | Pathway: |  |  |  | 0 | 0
| A | Crushed, compacted gravel pathway | 2480 | sf |  | 0 | 0 | See detail 4/C402
| B | Pathway edging | 630 | LF |  | 0 | 0 | See detail 5/C400
10 |  | Display Plaza: | [5 empty] | See detail 1/C403
| A | Concrete plaza paving | 333 | SF |  | 0 | 0 | See detail 1/C406
| B | Seat wall | 60 | LF |  | 0 | 0 | See detail 2/C403
| C | Flagstone compass rose | 122 | SF |  | 0 | 0 | See detail 1/C403
11 |  | Restroom:
| A | Restroom structure by Greenflush | 1 | job |  | 0 | 0
| B | Tank drain pipe extension | 25 | LF |  | 0 | 0
| C | Tank fill pipe extension | 25 | LF |  | 0 | 0
| D | Product supplies, Allowance | [5 empty] | See specifications
12 |  | Picnic Plaza: | [5 empty] | See detail
| A | Concrete plaza paving | 115 | SF |  | 0 | 0 | See detail 1/C406
| B | Flagstone paving | 340 | SF |  | 0 | 0 | See detail 3/C406
| C | Seat wall | 65 | LF |  | 0 | 0 | See details 2/C403 and 2/C406
| D | Prefab custom pavillion | 1 | job |  | 0 | 0 | See sheet C405
13 |  | Descending ADA Ramp:
| A | ADA ramp surface | 538 | SF |  | 0 | 0 | See detail 1/C402, See also C500 for spot grades
| B | Cheek wall | 140 | LF |  | 0 | 0 | See details 2/C402 and 2/C401
| C | Handrail | 140 | LF |  | 0 | 0 | See details 1/C402 and 2/C402
14 |  | Descending Stairway:
| A | Concrete stair | 280 | SF |  | 0 | 0 | See detail 1/C401
| B | Handrail | 33 | LF |  | 0 | 0 | See detail 3/C401
| C | Rock retaining/ seating wall | 1856 | FF |  | 0 | 0 | Terrace rock in field, see detail 1/C407
| D | Stair cheek wall | 50 | LF |  | 0 | 0 | See detail 1/C401 and 2/C401
15 |  | Observation Deck:
| A | Deck surfacing | 1450 | SF |  | 0 | 0 | See structural drawings
| B | Railing | 146 | LF |  | 0 | 0 | See detail 2/C404
| C | Structured overlook platform | 240 | SF |  | 0 | 0 | See structural drawings
| D | Additional railing for structured overlook platform | 15 | LF |  | 0 | 0 | See detail 2/C404, see structural drawings for connection
16 |  | Landscaping:
| A | Landscaping | 1 | job |  | 0 | 0 | See L100 sheet series
| B | Hand watering during warranty period |  |  |  | 0 | 0
17 |  | Informational Signage:
| A | Plaza panel | 4 | EA |  | 0 | 0 | See specifications
| B | Observation deck panel | 2 | EA |  | 0 | 0 | See specifications
18 |  | Site Furnishings:
| A | Standard picnic table | 4 | EA |  | 0 | 0 | See detail 4/C404
| B | ADA Picnic table | 1 | EA |  | 0 | 0 | See detail 5/C404
| C | Trash receptacle | 4 | EA |  | 0 | 0 | See detail 7/C404
| D | Bench | 4 | EA |  | 0 | 0 | See detail 6/C404, each with pad 8/C404
| E | Swing | 1 | EA |  | 0 | 0 | See detail 1/C404
| F | Trash receptacle pad | 2 | EA |  | 0 | 0 | See detail 9/C404
19 |  | Site Utilites:
| A | Water service | 1 | job |  | 0 | 0 | See sheet C700
| B | Electrical Service | 1 | job |  | 0 | 0 | See sheet E100
20 |  | Hiking Trail Extension | [5 empty] | See sheet C202
21 |  | Tower Road Gate | [5 empty] | See sheet C203
22 |  | Final Clean up & Fine Grading | 1 | job |  | 0 | 0
Sub - Total
|  | General Conditions | 0 | % |  | 0 | 0
|  | TOTAL |  |  |  |  | 0 | Lump Sum Bid

## Sheet1
C |  | Sawnee Mountain Preserve Visitor Center - CONSTRUCTION ITEMS BID SCHEDULE
# |  | Construction Items | Quantity | Unit | Contractor | Unit | Total | Notes
1 |  | Pre-Construction:
| A | Mobilization | 1 | job |  | 0 | 0
| B | Staking | 1 | job |  | 0 | 0 | See C300 series
2 |  | Demolition | [5 empty] | See sheet C200
| A | Remove trees | 45 | EA |  | 0 | 0
| B | Remove parking lot asphalt paving (shaded) | 600 | SF |  | 0 | 0
| C | Remove 12" concrete banding | 240 | LF |  | 0 | 0
| D | Remove HC area asphalt paving (shaded) | 325 | SF |  | 0 | 0
| E | Remove concrete sidewalk (shaded) | 225 | SF |  | 0 | 0
| F | Remove concrete pavers (shaded) | 625 | SF |  | 0 | 0
| G | Remove sign | 5 | EA |  | 0 | 0
| H | Remove raised planters | 4 | EA |  | 0 | 0
| I | Remove underground drain pipe | 1 | job |  | 0 | 0
| J | Remove 6" white PVC pipe | 1 | job |  | 0 | 0
| K | Remove and salvage stepping stones | 1 | job |  | 0 | 0
| L | Remove and salvage sanitary sewer witness marker | 1 | job |  | 0 | 0
| M | Remove HC sign | 6 | EA |  | 0 | 0
| N | Remove staff only sign | 2 | EA |  | 0 | 0
| O | Remove and salvage split rail fence | 1 | job |  | 0 | 0
| P | Remove pedestrian gate and salvage hardware and signs | 1 | job |  | 0 | 0
| Q | Remove double gate and salvage hardware and signs | 1 | job |  | 0 | 0
| R | Remove maintenance building siding | 1 | job |  | 0 | 0
| S | Remove and salvage chief Sawnee statue | 1 | job |  | 0 | 0 | See detail 3/C409
| T | Remove and salvage chief Sawnee plaque | 1 | job |  | 0 | 0 | See detail 3/C409
| U | Remove pond pump equipment and connections complete, leave drain | 1 | job |  | 0 | 0
| V | Remove salvage fence for climbing wall area | 78 | LF |  | 0 | 0
| W | Remove and salvage stone steps | 1 | job |  | 0 | 0
| X | Remove information kiosk | 1 | job |  | 0 | 0
| Y | Remove 4' wire fence | 158 | LF |  | 0 | 0
| Z | Rake existing crushed gravel to conform new layout | 1 | job |  | 0 | 0
| AA | Remove 50 LF gutter to be replaces |  |  |  | 0 | 0 | See details 5/C405 and 6/C409
| AB | Remove 2x2 lath atop existing arbor for roof installation | 1 | job |  | 0 | 0 | See details 1/C409 and 2/C409
3 |  | Clearing & Grubbing:
| A | Clearing & Grubbing | 1 | AC |  | 0 | 0
| B | Limb up trees to remain within work limits (except magnolias) to 10 ft clear | 1 | job |  | 0 | 0
| C | Class A Pruning of all trees withing work limits | 1 | job |  | 0 | 0
| D | Remove invasive ivy | 1 | job |  | 0 | 0
4 |  | Erosion Control: | [5 empty] | See C700 series
| A | Initial phase | 1 | job |  | 0 | 0
| B | Intermediate phase | 1 | job |  | 0 | 0
| C | Final phase | 1 | job |  | 0 | 0
5 |  | Grading and Drainage: | 1 | job |  | 0 | 0 | See sheet C500
6 |  | ADA Parking Area
| A | Asphalt paving (hatched) | 1700 | SF |  | 0 | 0 | See detail 5/C400
| B | HC parking sign | 10 | EA |  | 0 | 0 | See detail 5/C401
| C | Striping | 1 | job |  | 0 | 0 | See detail 1/C401 (white)
| D | Concrete curb stop | 10 | EA |  | 0 | 0 | See detail 8/C400 & 1/C401
| E | Concrete walkway | 1886 | SF |  | 0 | 0 | See detail 1/C400
| F | Wooden retaining wall | 95 | LF |  | 0 | 0 | See detail 3/C401
| G | Stop/ Do not enter sign | 1 | EA |  | 0 | 0 | See detail 5/C402 and 6/C402
| H | Concrete plaza | 540 | SF |  | 0 | 0 | See details 1/C400 and 3/C404
7 |  | Climbing Area:
| A | Split rail fence | 60 | LF |  | 0 | 0 | Match existing
| B | Pedestrian wooden gate | 2 | EA |  | 0 | 0 | Match existing
| C | Activity shed renovation | 1 | job |  | 0 | 0 | See sheet C406
| D | Pavillion | 1 | job |  | 0 | 0 | See sheet C407
| E | 4'x4' Conc. Pad for spigot | 1 | EA |  | 0 | 0 | See detail 6/C400
8 |  | Gathering Area:
| A | Crushed gravel pathway over existing gravel | 3655 | SF |  | 0 | 0 | See detail 3/C404
| B | Edging material | 300 | LF |  | 0 | 0 | See detail 3/C404
| C | Information kiosk | 1 | job |  | 0 | 0 | See detail 1/C404
| D | Crosswalks | 2 | EA |  | 0 | 0 | See detail 1/C401
| E | Install salvaged stone steps | 1 | job |  | 0 | 0 | See detail 3/C402
9 |  | Visitor Center Area:
| A | Drain inlets | 5 | EA |  | 0 | 0 | See C500 series
| B | Drain pipe | 435 | LF |  | 0 | 0 | See C500 series
| C | Downspout connections | 9 | EA |  | 0 | 0 | See C500 series
| D | Drain pipe end cap | 2 | EA |  | 0 | 0 | See C500 series
| E | Outlet protection | 2 | EA |  | 0 | 0 | See C600 series
| F | Add material and grade Eastern side of visitor center | 1 | job |  | 0 | 0 | See C500 series
| G | Bore under sidewalk | 30 | LF |  | 0 | 0
| H | Fill in fish pond area and grade area to drain | 1 | job |  | 0 | 0 | See C500 series
10 |  | Parking Lot Expansion
| A | Asphalt paving (hatched area) | 8930 | SF |  | 0 | 0 | See detail 5/C400
| B | 12" concrete band | 135 | LF |  | 0 | 0 | See detail 6/C400
| C | Striping | 1 | job |  | 0 | 0 | See detail 1/C402 (white)
| D | Concrete Curb Stop | 45 | EA |  | 0 | 0 | See detail 8/C400
| E | Stop/ Do not enter sign | 1 | EA |  | 0 | 0 | See detail 5/C402 and 6/C402
11 |  | Maintenance Area:
| A | Asphalt paving (hatched area) | 8350 | SF |  | 0 | 0 | See detail 5/C402
| B | Striping | 1 | job |  | 0 | 0 | See detail 1/C402 and layout plan
| C | Concrete curb stop | 7 | EA |  | 0 | 0 | See detail 8/C400
| D | Stop sign | 2 | EA |  | 0 | 0 | See detail 6/C402
| E | Maintenance building | 1 | job |  | 0 | 0 | See sheet C408
| F | 8' tall chain link fence | 295 | LF |  | 0 | 0 | See sheet C403
| G | 24' wide, 8' tall double chain link gate | 1 | EA |  | 0 | 0 | See sheet C403
| H | 5' wide, 8' tall single chain link gate | 1 | EA |  | 0 | 0 | See cheet C403
| I | Tubular barrier double gate | 2 | EA |  | 0 | 0 | See detail 4/C401
| J | 4'x4' conc. Pad fpr spigot | 1 | EA |  | 0 | 0 | See detail 6/C400
12 |  | Entrance Area: | [5 empty] | See detail
| A | Concrete paving | 1390 | SF |  | 0 | 0 | See detail 1/C406
| B | Striping | 1 | job |  | 0 | 0 | See detail 1/C402 (white) and layout plan
13 |  | Landscaping:
| A | Landscaping | 1 | job |  | 0 | 0 | See L100 sheet series
| B | Design - Build drip irrigation system | 1 | job |  | 0 | 0 | See specifications, submit plan for review and approval
14 |  | Site Utilities:
| A | Water service to maintenance building | 1 | job |  | 0 | 0 | See sheet C600
| B | Electrical service to maintenance building | 1 | job |  | 0 | 0 | See sheet E100
| C | Electrical service to activity shed | 1 | job |  | 0 | 0 | See sheet E100
| D | Water service to activity shed | 1 | job |  | 0 | 0 | See sheet C600
| E | Electrical service to pavilion | 1 | job |  | 0 | 0 | See sheet E100
| F | Spare sleeving | 1 | job |  | 0 | 0 | See layout plan and detail 9/C400
15 |  | Site Signage:
| A | Stop sign | 2 | EA |  | 0 | 0 | See detail 6/C402
| B | Stop/ Do not enter sign | 1 | EA |  | 0 | 0 | See detail 5/C402 and 6/C402
| C | Accurately install salvaged sanitary sewer witness marker | 1 | job |  | 0 | 0
| D | Install salvaged gate signs per owner's direction | 1 | job |  | 0 | 0
16 |  | Porch Area:
| A | Porch roof | 1 | job |  | 0 | 0 | See detail 1/C409
| B | Enclose under porch deck | 1 | job |  | 0 | 0 | See details 5/C409 and 6/C409
| C | New gutter, downspouts, and trays | 1 | job |  | 0 | 0 | See details 5/C409 and 6/C409
| D | Replace gutters | 50 | LF |  | 0 | 0 | See details 5/C409 and 6/C409
17 |  | Chief Sawnee
| A | Install salvaged statue | 1 | job |  | 0 | 0 | Install per sculptors instructions, see detail 3/C409 for new placement
| B | Steel edging | 55 | LF |  | 0 | 0 | See detail 2/C404
| C | New crushed gravel pathway | 268 | SF |  | 0 | 0 | See detail 2/C404
| D | Slope subgrade to drain to adjusted existing drain inlet | 1 | job |  | 0 | 0
| E | Filter fabric | 268 | SF |  | 0 | 0
| F | Adjust existing drain and install ads inlet grate under crushed gravel & assure positive drainage | 1 | job |  | 0 | 0
18 |  | Final Clean Up & Fine Grading | 1 | job |  | 0 | 0
Sub - Total
|  | General Conditions | 0 | % |  | 0 | 0
|  | TOTAL |  |  |  |  | 0 | Lump Sum Bid

## Sheet2
H |  | MCP Lake House - Construction Items Bid Schedule |  |  |  |  | Rev. 9/20/2023 | 2023-05-15
# |  | Construction Items | Design QTY | Unit |  |  | Total $ | Notes
1 |  | Staking - Site | 1 | job | 1 | 0 | 0 | See sheet 7
| a | Mobilization ( part of general conditions) | 1 | job | 1 | 0 | 0 | Max 1% of subtotal
| b | Pick-up permits from City Hall - Allowance | 1 | job | 1 | 100 | 100 | See Exhibit-B ITB page 2, 3
| c | Underground Utilities Survey | 1 | job | 1 | 0 | 0 | See specs Section 02100
| d | Prepare traffic control | 1 | job | 1 | 0 | 0 | See Section 01014
| e | Collaborate with Tree Care Co. Allowance | 1 | job | 1 | 500 | 500 | See Section 02112
| f | Temporary trail re-route & maintenance | 550 | LF |  | 0 | 0 | See Appendix Exhibit 11
| g | Protect existing asphalt trail / access | 850 | SF |  | 0 | 0 | See Section 02060
| h | Perimeter Security Fences - Chain link | 1000 | LF |  | 0 | 0 | See Section 02060
2 |  | Demolition - Complete | [5 empty] | See C3.8A Sheet 4
| a | Remove asphalt parking - Complete | 26280 | SF |  | 0 | 0 | Traffic Control Plan
|  | 1. remove street paving | 1600 | SF |  | 0 | 0 | See Section 02060
|  | 2. remove concrete apron | 120 | SF |  | 0 | 0 | See Section 02060
| b | Remove and salvage signs | 6 | Ea |  | 0 | 0 | Give to owner
| c | Remove concrete curb and gutter | 410 | LF |  | 0 | 0 | See Section 02060
| d | Remove and salvage gate | 2 | Ea |  | 0 | 0 | Give to owner
| e | Remove large boulders on site | 1 | job |  | 0 | 0 | Stack in pile for owner
| f | Relocate existing power pole | NIC |  |  |  |  | Coordinate w Ga. Power
| g | Asphalt removal - By hand
|  | 1. critical root zone area remove by hand | 5000 | SF |  | 0 | 0 | Line. 3.03 Section 02060
|  | 2. asphalt trail under trees remove by hand | 850 | SF |  | 0 | 0 | Line. 3.03 Section 02060
| h | Remove plastic Bollards | 17 | Ea |  | 0 | 0 | See Section 02060
| i | Remove or cap abandoned utility lines | 1 | job |  | 0 | 0 | See utility plan sheet 10
|  | 1. salvage water meter | 1 | job |  | 0 | 0 | Give to Water Authority
|  | 2. remove headwall | 1 | job |  | 0 | 0 | See Section 02060
| j | Remove and salvage granite curb | 340 | LF |  | 0 | 0 | store on site to reuse
| k | Remove and salvage 3' split rail fence | 412 | LF |  | 0 | 0 | Store to reinstall
| l | Remove 4' chain link fence | 40 | LF |  | 0 | 0 | Salvage to owner
| m | Remove sidewalk | 560 | SF |  | 0 | 0 | See Section 02060
| n | Protection existing sign wall | 1 | job |  | 0 | 0 | See Section 02100
| o | Remove existing sewer pipe | 400 | LF |  | 0 | 0 | See utility plan sheet 10
| p | Remove headwall | 1 | Ea |  | 0 | 0 | plug abandoned pipes
| q | Remove existing site electrical and light poles | 3 | Ea |  | 0 | 0 | Coordinate w Ga. Power
| r | Remove old chain-link fence - complete | 420 | LF |  | 0 | 0 | See Section 02060
| s | Remove existing benches, signs, trash can | 1 | Ea |  | 0 | 0 | Salvage to owner
| t | Protect and maintain granite curb and wall | 1 | job |  | 0 | 0 | See Section 02100
| u | Protect monument per client direction | 1 | job |  | 0 | 0 | See Section 02100
| v | Remove concrete walk | 130 | SF |  | 0 | 0 | See Section 02060
| w | Remove general site debris | 1 | job |  | 0 | 0 | See Section 02060
3 |  | Clearing & Grubbing: | [5 empty] | See C5.8A, Sheet 5
| a | Tree protection fence | 2200 | LF |  | 0 | 0 | See Sheet 5, detail 2/5
| b | Coordinate-Prescriptive Tree care ( Allow) | 25 | trees | 25 | 100 | 2500 | See Section 02112
| c | Tree removal and stump | 124 | Ea |  | 0 | 0 | Trees marked with X
| d | Tree removal - cut flush to stump | 33 | Ea |  | 0 | 0 | Trees marked with Xr
| e | Tree removal-hand cut flush ( in the setback) | 19 | Ea |  | 0 | 0 | Trees marked with Xr
| f | Remove Small underbrush vegetation | 1 | job |  | 0 | 0 | See Section 02060 P
4 |  | Erosion Control: | [5 empty] | See C7.8 Sheets 14-21
| a | Initial Phase | 2.7 | Ac |  | 0 | 0 | See Section 02125
| b | Intermediate Phase | 2.7 | Ac |  | 0 | 0 | See Section 02125
| c | Final Phase | 2.7 | Ac |  | 0 | 0 | See Section 02125
| d | NPDES monitoring - coordinate w City contact | 1 | LS |  | 0 | 0 | See Section 02125
5 |  | Grading: | 75000 | SF |  | 0 | 0 | See C5.8 sheet 8
6 |  | Drainage: | [5 empty] | See C5.8 sheets 8 & 9
| a | Headwall | 2 | Ea |  | 0 | 0 | See detail 4/9
| b | End wall flume | 2 | Ea |  | 0 | 0 | See detail 3/11
| c | Grate Inlet | 2 | Ea |  | 0 | 0 | See detail 4/11
| d | Double wing trap inlet | 2 | Ea |  | 0 | 0 | See detail 2/11
| e | Junction box | 1 | Ea |  | 0 | 0 | See detail 6/9
| f | Water Quality Saffle Baffle | 1 | Ea |  | 0 | 0 | See detail 1/11
| g | 18" RCP Pipe | 125 | LF |  | 0 | 0 | See Section 02630
| h | 18" HDPE Pipe | 93 | LF |  | 0 | 0 | See Section 02630
| i | 12" HDPE Pipe | 152 | LF |  | 0 | 0 | See Section 02630
| j | Rip Rap @ 2 locations | 2 | CY |  | 0 | 0 | See Section 02630
7 |  | Site Utilities: | [5 empty] | See C5.8 sheet 10
| a | Electric service line to transformer | 160 | LF |  | 0 | 0 | Coordinate w Ga. Power
|  | 1. Buried electrical service line to bldg. | 180 | LF |  | 0 | 0 | See Utility plan sheet 10
|  | 2. Transformer - Coordinate w Ga. Power | 1 | Job |  | 0 | 0 | Coordinate w Ga. Power
| b | Water service 1 1/2" line to building | 270 | LF |  | 0 | 0 | See utility plan, Sheet 10
|  | 1. Vault, BF preventer, & valve complete | 1 | job |  | 0 | 0 | See detail 2/13
|  | 2. 1 1/2Tap and meter - Dekalb Co. | 1 |  |  | 0 | 0 | City pays directly to Dekalb
|  | 3. Fire line 6" OD | 210 | LF |  | 0 | 0 | See utility plan, C6 series
|  | 4. Fire hydrant | 1 | ea |  | 0 | 0 | See utility plan, C6 series
|  | 5. Quick coupler - watering system | 6 | Ea |  | 0 | 0 | See detail 6/13
|  | 6. Water line system - Quick coupler 3/4" | 815 | LF |  | 0 | 0 | See utility plan, C6 series
|  | 7. 3/4 meter and BFP on quick coupler line | 1 | Ea |  | 0 | 0 | See detail 3/13
|  | 8. Gate Valve 6" | 1 | Ea |  | 0 | 0 | See detail 3/13
|  | 9. Tap 6", meter Dekalb Co. | 1 | Ea |  | 0 | 0 | City pays directly to Dekalb
|  | 10. Double detector check apparatus -DDCA | 1 | Ea |  | 0 | 0 | See detail 5413
| c | Gas line: | [5 empty] | See utility plan, C6 series
|  | 1. Coordinate w Gas Co. to install Allowance | 1 | job | 1 | 350 | 350 | Coordinate w Gas co.
| d | Install communication, phone. security conduit | 400 | lf |  | 0 | 0 | 3" PCX conduit w 3 strings
|  | (from Lake House elect. rm to junction box | [5 empty] | Existing Junction Box
|  | at playground parking lot corner) | [5 empty] | flag in the field
| e | Spare Sleeves - double 4" pvc | 375 | LF |  | 0 | 0 | See utility plan, C5.8C
| f | Ga. Power conduit for parking lot line | 225 | LF |  | 0 | 0 | See utility plan, Detail 5/31
8 |  | New 5' Sidewalk to Lake House: | [5 empty] | See C8.8 series
| a | New sidewalk | 1500 | SF |  | 0 | 0 | See detail 8/23
| b | #1 Ramp, 5'x 56 LF | 280 | SF |  | 0 | 0 | See detail 7/24
| c | Handrail | 112 | LF |  | 0 | 0 | See detail 9/24
| d | #2 Ramp 5'x 35 LF | 175 | SF |  | 0 | 0 | See detail 7/24
| e | Handrail | 70 | LF |  | 0 | 0 | See detail 7/24
9 |  | New Asphalt Parking Lot: 91 Cars | [5 empty] | See staking Sheet 7
| a | Asphalt Pavement | 33700 | SF |  | 0 | 0 | See detail 4/23
| c | Parking stripes | 1530 | LF |  | 0 | 0 | See Section 02513
| d | ADA symbol | 5 | Ea |  | 0 | 0 | See Detail 1/7
| e | New ADA signs | 5 | Ea |  | 0 | 0 | See Detail 3/23
| f | ADA striping | 3 | Ea |  | 0 | 0 | ADA Standard
| g | Wheel stops | 42 | Ea |  | 0 | 0 | See Detail 8/24
10 |  | Concrete Sidewalk along Candler Lake W. | [5 empty] | See staking Sheet 7
| a | New sidewalk 5' | 1200 | SF |  | 0 | 0 | See Detail 8/23
| b | Expansion joints 5' | 8 | Ea |  | 0 | 0 | See Detail
| c | Reset original split-rail fence in place | 412 | Ea |  | 0 | 0 | See Item 2-J,1 CIBS
| d | Truncated dome matts | 4 | Ea |  | 0 | 0 | See Sheet 23
| e | Relocate existing power pole guy wires | NIE |  |  |  |  | Coordinate w Ga. Power
11 |  | New Curb in Parking lot
| a | Concrete curb & Gutter | 1230 | LF |  | 0 | 0 | See Detail 6/23
| b | Reset Granite curb ( salvaged item 2 J ) | 340 | LF |  | 0 | 0 | See Detail 5/23
| c | Roll curb for service access & trail | 56 | LF |  | 0 | 0 | See Detail 12/23
| d | Roll curb on Candler Lake W street | 130 | LF |  | 0 | 0 | See Detail 12/23
| e | Flush curb at ADA ramp entrance | 32 | LF |  | 0 | 0 | Sim. to Detail 12/23
12 |  | 5' New Sidewalk Behind Street Curb: 115' x 5' | 575 | SF |  | 0 | 0 | See detail 8/23
| a | Curb cut | 10 | LF |  | 0 | 0 | See Sheet 22 Detail 13/23
13 |  | Plaza Paving at Trail Entrance: | 750 | SF |  | 0 | 0 | See Detail 7/23
| a | Curb cut | 10 | Ea |  | 0 | 0 | See Sheet 22 Detail 13/23
14 |  | Paint new crosswalks: 2 ea @ 30' | 60 | LF |  | 0 | 0 | See Detail 11/23
| a | Re-paint existing crosswalk 1 ea @ 30' | 30 | Lf |  | 0 | 0 | See Detail 11/23
| b | Curb cuts 3 @ 10' | 30 | Lf |  | 0 | 0 | See Sheet 22 Detail 13/23
15 |  | Rebuild dirt trail 10' x 260 lf | 2600 | SF |  | 0 | 0 | match existing tail
16 |  | Relocate Dekalb Co Sanitary Sewer: | [5 empty] | See C5.8 sheet 10
| a | Sanitary Main Line 12" DIP - complete | 387 | LF |  | 0 | 0 | See Utility plan sheet 10
| b | Grease trap - 1000 gallon | 1 | Ea |  | 0 | 0 | Detail 2/10
| c | Sanitary connection Line 6" PVC | 103 | LF |  | 0 | 0 | See Utility plan sheet 10
| d | Junction / manhole Box | 2 | Ea |  | 0 | 0 | See Utility plan sheet 11
| e | Coordinate DeKalb Co Impact Fee | 1 | job |  | 200 | 200 | City to pay Dekalb direct
17 |  | New Lake House - Complete | 4600 | SF |  | 0 | 0 | Transfer from Bldg. Sched.
| a | Pavilions 18 x 18 = 324 sf x 2 ea | 648 | Ea |  | 0 | 0 | See architectural plans
| b | Lumberock Deck - canter leaver | 1600 | SF |  | 0 | 0 | See architectural plans
| c | Lumberock Deck on posts | 1400 | SF |  | 0 | 0 | See architectural plans
| d | Metal Wire Rails on Deck | 310 | LF |  | 0 | 0 | See architectural plans
18 |  | Heavy Duty Concrete Trail: | 1100 | SF |  | 0 | 0 | See Detail 6/24
| a | 10' wide x 130' | 1300 | SF |  | 0 | 0 | See Detail 6/24
| b | 12' wide x 150' | 1800 | SF |  | 0 | 0 | See Detail 6/24
| c | Driveway | 520 | SF |  | 0 | 0 | See Detail 6/24
| d | Gravel parking 10' x 27' | 270 | SF |  | 0 | 0 | 3" deep #57 Stone
| e | Bollard at service entry | 3 | Ea |  | 0 | 0 | See Detail 5/24
19 |  | Plaza Paving - Concrete | 260 | SF |  | 0 | 0 | See Detail 7/23
20 |  | Site Lighting | [5 empty] | See Series C10.8 Sheet 29
| a | Site Lighting Fixture Schedule | 1 | Cost |  | 0 | 0 | Transfer from Fixture Sch.
21 |  | Site Furniture | [5 empty] | See Section 02870
| a | Set existing bench | 2 | Ea |  | 0 | 0 | See Detail 1/24
| b | New trash receptacle | 1 | Ea |  | 0 | 0 | See Detail 2/24
| c | Bike rack | 1 | Ea |  | 0 | 0 | See Detail 3/24
| d | Concrete Pads | 4 | Ea |  | 0 | 0 | Sim Detail 8/23
22 |  | Site Signage
| a | HC Parking Sign | 4 | Ea |  | 0 | 0 | See Detail 5/23
| b | Stop Sign | 4 | Ea |  | 0 | 0 | DOT Standard
23 |  | Landscape - | [5 empty] | See sheets 25 & 26
| a | Trees / Gr. Cover / Other | 18 | Ea |  | 0 | 0 | See Plant Bid Schedule
| b | Topsoil 3" x 800 sf | 3 | CY |  | 0 | 0 | See section 02900
| c | Bed Preparation | 800 | SF |  | 0 | 0 | See section 02921
| d | Gator bags on trees | 37 | Trees |  | 0 | 0 | See Section 02808
24 |  | Final Clean Up | 90000 | SF |  | 0 | 0 | See section 02975
25 |  | Traffic Control for Project | 1 | job |  | 0 | 0 | See ITB Exhibit B line 2.
| a | As Built drawings - Allowance | 1 | job | 1 | 4500 | 4500 | See ITB Exhibit B line 11.
27 |  | Unit Item - Allowances
| a | Excavate and remove mass rock | 200 | CY |  | 0 | 0 | See Section 01220
| b | Excavate and remove trench rock | 50 | CY |  | 0 | 0 | See Section 01220
| c | Remove soil & Replace w compactable fill | 50 | CY |  | 0 | 0 | See Section 01220
| d | Remove soil & Replace with GAB | 100 | CY |  | 0 | 0 | See Section 01220
| e | Remove soil & Replace w #57 or surge stone | 100 | CY |  | 0 | 0 | See Section 01220
| f | 18" Silt Sock - Sd1-Ns | 1000 | LF |  | 0 | 0 | field change
| g | Double Silt Fence Sd1-S | 500 | LF |  | 0 | 0 | Sheet 20
| h | Hand excavate for double silt fence | 1000 | LF |  | 0 | 0 | Labor only
| i | Single silt fence w 18" silt sock | 1000 | LF |  | 0 | 0 | See Addendum #1 detail
| j | Granite Curb - straight | 1000 | LF |  | 0 | 0 | Match existing
| k | Granite Curb - curved | 500 | LF |  | 0 | 0 | Sim detail
| l | Tree root protection w # 57 stone gravel | 800 | SF |  | 0 | 0 | See detail 4/24
|  | Subtotal |  |  |  |  | 8150 | Total Items
|  | Bond |  | % |  | 0 | 0 | See Bid form
|  | General Conditions & Phasing |  | % |  | 0 | 0 | contactor %
|  | TOTAL BASE BID |  |  |  |  | 8150 | LUMP SUM BID
Add Alternate - Geothermal System
1 |  | Geothermal System (complete) | 1 | Job |  | 0 | 0 | See Sheets M-100, 101
|  | 1. Borings and wells 300' deep complete | 12 | Ea |  | 0 | 0 | See Sheet M-200
|  | 2. Deduct conventional HVAC system | 1 | job |  | 0 | 0 | See Bldg. Schedule
|  | Total Add Alternate |  |  |  |  | 0
Deductive Alternates
1 |  | Pavilions
17 | a | Delete Pavilions complete 2 ea | 2 | ea |  | 0 | 0 | Architectural Drawings
| c | a. Pavilion walkways 8 x 20 x 2 ea | 320 | sf |  | 0 | 0 | Architectural Drawings
TOTAL for Pavilions
2 |  | Granite Curb
11 | b | Delete Granite curb | 340 | lf |  | 0 | 0 | See Detail 6/23
|  | Add Concrete curb in place | 340 | lf |  | 0 | 0 | See Detail 5/23
TOTAL for Concrete curb
3 |  | Lake House Wood Deck- alternates | [5 empty] | See Bldg. Schedule
17 | b | Lumberock to Wood deck- | 1600 | SF |  | 0 | 0 | canter leaver
17 | c | Lumberock to wood Deck on posts | 1400 | SF |  | 0 | 0 | Adjust for Pavilions walks
TOTAL for Wood Deck
|  | TOTOL Deduct Alternates |  |  |  |  | 0